SONIC-digital liquid processing performance: 2000 watt power supply

| Amplitude / Power | Booster | Probe Percent Sub-merged | Circular Probe 25 mm diameter 120 mm length ###### Power Output | Circular Probe 38 mm diameter 125 mm length ###### Power Output | Circular Probe 50 mm diameter 125 mm length ###### Power Output |
| --- | --- | --- | --- | --- | --- |
| 100 % | Titanium 1:2.5 | 50 % | 200 W | 640 W | 900 W |
| 100 % | Titanium 1:2.5 | 90 % | 300 W | 780 W | 1200 W |

SONIC-digital Acoustic Stack

Transducer (3,000 W)

Best mounting Point

Booster (1:2.5)

Probe (50 mm)