There are two basic geometries that we would like to connect to an ultrasonic energy source.  We would like to distribute the ultrasonic energy from the underside of the first device which is shown in figures 1 and 2.

The top surface is flat, with a blasted finish.  The ultrasonic source is preferably attached to the center hole.

Figure 1: front view

Figure 2: Top View

Below are images of the second type of device that we would like to attach to an ultrasonic energy source.  The ultrasonic energy source would preferably attach to the threaded hole in figure 3

Figure 3: Top/Side Angled View

The energy would be preferable distributed from the portion of the device that is to the left of the white region seen below in figure 4.

The device that we are currently trying to connect to these geometries is the Misonix 3000.  A photo of the horn attached to the second device can be seen below.  The horn has a ½ inch diameter tip.